## Blad1
Item # | Name | Specs. | Qty. | Price per piece (€) | Shipping (€) | Total per Schistoscope (€) | Total cost (€) | 799.2318 | Link
Motors and drivers
1 | Stepper motor | NEMA 11, 1 mm pitch, 50 mm | 2 | 24.59 | 24.2 | 73.38 |  |  | https://nl.aliexpress.com/item/1005005533260185.html?spm=a2g0o.productlist.main.21.d7193af5nTc0bL&algo_pvid=0311f4ec-5321-4d68-99e3-2e47c6b58b74&algo_exp_id=0311f4ec-5321-4d68-99e3-2e47c6b58b74-10&pdp_npi=4%40dis%21EUR%2136.33%2135.24%21%21%2138.24%21%21%40211b88ef16938677846513431e329a%2112000033439717476%21sea%21NL%210%21A&curPageLogUid=17Ds95Ps0tr9
2 | Stepper motor | NEMA 11, 1 mm pitch, 100 mm | 1 | 25.1 | 5.61 | 30.71 |  |  | https://nl.aliexpress.com/item/1005005533260185.html?spm=a2g0o.productlist.main.21.d7193af5nTc0bL&algo_pvid=0311f4ec-5321-4d68-99e3-2e47c6b58b74&algo_exp_id=0311f4ec-5321-4d68-99e3-2e47c6b58b74-10&pdp_npi=4%40dis%21EUR%2136.33%2135.24%21%21%2138.24%21%21%40211b88ef16938677846513431e329a%2112000033439717476%21sea%21NL%210%21A&curPageLogUid=17Ds95Ps0tr9
3 | Stepper motor driver | DRV8825 + heatsink | 3 | 1.05 | 1.55 | 4.7 |  |  | https://nl.aliexpress.com/item/1005001621676770.html?spm=a2g0o.productlist.main.45.7d113e71c5rpfz&algo_pvid=0ba04a30-e339-455d-b8e5-7db9d5e80bba&algo_exp_id=0ba04a30-e339-455d-b8e5-7db9d5e80bba-22&pdp_npi=4%40dis%21EUR%210.91%210.73%21%21%210.96%21%21%40211b88ee16938682042218596e4ee1%2112000020026811115%21sea%21NL%210%21A&curPageLogUid=FATsjuqZyCN2
Structural components
5 | Aluminum profile | 20x20x350 mm | 2 | 6.11 | 1.74 | 13.96 |  |  | https://nl.aliexpress.com/item/1005002537611699.html?spm=a2g0o.productlist.main.3.4a031ab0olaA8Y&algo_pvid=1cb8bec3-2328-4782-988c-cffaef372e91&algo_exp_id=1cb8bec3-2328-4782-988c-cffaef372e91-1&pdp_npi=4%40dis%21EUR%217.49%215.98%21%21%217.88%21%21%40211b88f016938699631611766e6877%2112000021048744254%21sea%21NL%210%21A&curPageLogUid=FJZzS7E2CY5k
6 | Aluminum profile | 40x20x300 mm | 1 | 11.87 | 0 | 11.87 |  |  | https://nl.aliexpress.com/item/1005002453496457.html?spm=a2g0o.productlist.main.51.1df46917MQxx1B&algo_pvid=2cc73904-420a-4249-9133-c5c1c338129d&algo_exp_id=2cc73904-420a-4249-9133-c5c1c338129d-25&pdp_npi=4%40dis%21EUR%2119.64%2119.64%21%21%2120.67%21%21%4021038eda16938702597077618e5c7a%2112000020710616520%21sea%21NL%210%21A&curPageLogUid=VMwzInqvGpVO
7 | Aluminum profile | 20x20x300 mm | 3 | 7.28 | 1.74 | 23.58 |  |  | https://nl.aliexpress.com/item/1005002537611699.html?spm=a2g0o.productlist.main.3.4a031ab0olaA8Y&algo_pvid=1cb8bec3-2328-4782-988c-cffaef372e91&algo_exp_id=1cb8bec3-2328-4782-988c-cffaef372e91-1&pdp_npi=4%40dis%21EUR%217.49%215.98%21%21%217.88%21%21%40211b88f016938699631611766e6877%2112000021048744254%21sea%21NL%210%21A&curPageLogUid=FJZzS7E2CY5k
8 | Aluminum profile | 20x20x215 mm | 2 | 8.46 | 1.74 | 18.66 |  |  | https://nl.aliexpress.com/item/1005002537611699.html?spm=a2g0o.productlist.main.3.4a031ab0olaA8Y&algo_pvid=1cb8bec3-2328-4782-988c-cffaef372e91&algo_exp_id=1cb8bec3-2328-4782-988c-cffaef372e91-1&pdp_npi=4%40dis%21EUR%217.49%215.98%21%21%217.88%21%21%40211b88f016938699631611766e6877%2112000021048744254%21sea%21NL%210%21A&curPageLogUid=FJZzS7E2CY5k
9 | Aluminum profile | 20x20x200 mm | 2 | 7.63 | 1.74 | 17 |  |  | https://nl.aliexpress.com/item/1005002537611699.html?spm=a2g0o.productlist.main.3.4a031ab0olaA8Y&algo_pvid=1cb8bec3-2328-4782-988c-cffaef372e91&algo_exp_id=1cb8bec3-2328-4782-988c-cffaef372e91-1&pdp_npi=4%40dis%21EUR%217.49%215.98%21%21%217.88%21%21%40211b88f016938699631611766e6877%2112000021048744254%21sea%21NL%210%21A&curPageLogUid=FJZzS7E2CY5k
10 | Aluminum profile | 20x20x175 mm | 2 | 7.63 | 1.74 | 17 |  |  | https://nl.aliexpress.com/item/1005002537611699.html?spm=a2g0o.productlist.main.3.4a031ab0olaA8Y&algo_pvid=1cb8bec3-2328-4782-988c-cffaef372e91&algo_exp_id=1cb8bec3-2328-4782-988c-cffaef372e91-1&pdp_npi=4%40dis%21EUR%217.49%215.98%21%21%217.88%21%21%40211b88f016938699631611766e6877%2112000021048744254%21sea%21NL%210%21A&curPageLogUid=FJZzS7E2CY5k
11 | Corner brackets |  | 16 | 6.46 | 0 | 6.46 |  |  | https://nl.aliexpress.com/item/4000063076132.html?spm=a2g0o.productlist.main.25.7da814435etbcl&algo_pvid=19aa6fcc-ced3-47ff-abb9-b12fac77b6bf&algo_exp_id=19aa6fcc-ced3-47ff-abb9-b12fac77b6bf-12&pdp_npi=4%40dis%21EUR%2112.20%216.46%21%21%2112.80%21%21%40211b615316947241743964861eaa47%2110000000161993707%21sea%21NL%210%21AS&curPageLogUid=rLXXE8yB8w6T
12 | Rubber feet | M4 | 4 | 3.68 | 4.96 | 8.64 |  |  | https://nl.aliexpress.com/item/1005003681572582.html?spm=a2g0o.productlist.main.25.5ca63b58zzCfgb&algo_pvid=e28b779e-7411-432f-84bb-55b8b368539a&algo_exp_id=e28b779e-7411-432f-84bb-55b8b368539a-12&pdp_npi=4%40dis%21EUR%214.71%214.61%21%21%214.94%21%21%40211b615316947243129446972eaa47%2112000026782305036%21sea%21NL%210%21AS&curPageLogUid=B0LszgvKN7rm
13 | Spring | M5*15 mm | 4 | 0.425 | 1.37 | 3.07 |  |  | https://nl.aliexpress.com/item/1005005974742507.html?spm=a2g0o.productlist.main.45.7bac5dd5iFG5OJ&algo_pvid=2046b9d0-bc3c-4736-8237-c5244236c177&algo_exp_id=2046b9d0-bc3c-4736-8237-c5244236c177-22&pdp_npi=4%40dis%21EUR%212.12%211.7%21%21%2116.27%21%21%40211b617a16939507018131128e6a33%2112000035130817674%21sea%21NL%210%21A&curPageLogUid=S3SDvNti9Aof
14 | Hinge |  | 2 | 0.23 | 0 | 0.46 |  |  | https://nl.aliexpress.com/item/32953581270.html?spm=a2g0o.productlist.main.5.6b3668aaplRnSN&algo_pvid=2c0c1b08-6c85-4129-bd1b-7743bc25a72d&algo_exp_id=2c0c1b08-6c85-4129-bd1b-7743bc25a72d-2&pdp_npi=4%40dis%21EUR%212.94%210.46%21%21%213.10%21%21%40211b617a16939508408492869e6a33%2166382201404%21sea%21NL%210%21A&curPageLogUid=eFfJ6r2JXGj9
15 | Lock plate |  | 1 | 0.46 | 0 | 0.46 |  |  | https://nl.aliexpress.com/item/32933924674.html?spm=a2g0o.productlist.main.3.412c3931eQBrTb&algo_pvid=9e3379fe-aa2c-4b70-85b0-87a244084bad&algo_exp_id=9e3379fe-aa2c-4b70-85b0-87a244084bad-1&pdp_npi=4%40dis%21EUR%210.70%210.46%21%21%210.74%21%21%40211b617a16939509787254501e6a33%2166224476012%21sea%21NL%210%21A&curPageLogUid=FMX9X8mry7T9
Mechanical fasteners
16 | Bolt | M2*6 mm | 8 | 1.84 | 0 | 1.84 |  |  | https://nl.aliexpress.com/item/1005004833515587.html?spm=a2g0o.productlist.main.7.107a4abed7Lp4O&algo_pvid=4e5c6b8d-3b2b-4882-8919-a36d85c2f3a4&algo_exp_id=4e5c6b8d-3b2b-4882-8919-a36d85c2f3a4-3&pdp_npi=4%40dis%21EUR%2113.46%211.84%21%21%2114.12%21%21%40211b88f116947270870846250efcfc%2112000030659841609%21sea%21NL%210%21AS&curPageLogUid=aU9x01JDrid9
17 | Bolt | M2*8 mm | 12
18 | Bolt | M2*10 mm | 8
19 | Bolt | M2*16 mm | 2
20 | Bolt | M3*6 mm | 2 | 5.75 | 0 | 5.75 |  |  | https://nl.aliexpress.com/item/1005004833515587.html?spm=a2g0o.productlist.main.7.107a4abed7Lp4O&algo_pvid=4e5c6b8d-3b2b-4882-8919-a36d85c2f3a4&algo_exp_id=4e5c6b8d-3b2b-4882-8919-a36d85c2f3a4-3&pdp_npi=4%40dis%21EUR%2113.46%211.84%21%21%2114.12%21%21%40211b88f116947270870846250efcfc%2112000030659841609%21sea%21NL%210%21AS&curPageLogUid=aU9x01JDrid9
21 | Bolt | M3*8 mm | 19
22 | Bolt | M3*12 mm | 10
23 | Bolt | M3*16 mm ¦ countersunk | 12
24 | Bolt | M3*20 mm | 4
25 | Bolt | M4*8 mm | 98 | 6.29 | 0 | 6.29 |  |  | https://nl.aliexpress.com/item/32879751148.html?spm=a2g0o.productlist.main.83.b89572a1z7If2W&algo_pvid=83133542-d8ce-405e-b2ad-da25d44a70e7&algo_exp_id=83133542-d8ce-405e-b2ad-da25d44a70e7-41&pdp_npi=4%40dis%21EUR%216.93%216.86%21%21%217.27%21%21%4021038eda16947280350625746e14c3%2165522335530%21sea%21NL%210%21AS&curPageLogUid=AfVsvWcOz8tB
26 | Bolt | M4*12 mm | 4 | 6.48 | 0 | 6.48 |  |  | https://nl.aliexpress.com/item/1005004129378778.html?spm=a2g0o.productlist.main.67.565d590atXPBRa&algo_pvid=966ad033-4291-4696-85c4-f2033d81a041&algo_exp_id=966ad033-4291-4696-85c4-f2033d81a041-33&pdp_npi=4%40dis%21EUR%2112.58%213.99%21%21%2113.19%21%21%4021038eda16947278400843976e14c3%2112000028131816313%21sea%21NL%210%21AS&curPageLogUid=WjhHm1uIKRo7
27 | Bolt | M4*24 mm | 2
28 | Bolt | M4*60 mm | 3 | 8.81 | 0 | 8.81 |  |  | https://nl.aliexpress.com/item/1005006034026066.html?spm=a2g0o.productlist.main.21.50886603JV22ri&algo_pvid=5ac0b68b-b2eb-4c67-9b40-9e0facd0099b&algo_exp_id=5ac0b68b-b2eb-4c67-9b40-9e0facd0099b-10&pdp_npi=4%40dis%21EUR%218.59%218.59%21%21%2165.51%21%21%4021038eda16947276262111658e14c3%2112000035416757399%21sea%21NL%210%21AS&curPageLogUid=zP4y8BI3SNzx
29 | Nut | M2 | 18 | 2.33 | 0 | 2.33 |  |  | https://nl.aliexpress.com/item/32801603379.html?spm=a2g0o.productlist.main.7.318c5b32FxGWyW&algo_pvid=49a7c5f5-db01-4161-a6e3-d5bc8f2d427f&algo_exp_id=49a7c5f5-db01-4161-a6e3-d5bc8f2d427f-3&pdp_npi=4%40dis%21EUR%212.58%212.33%21%21%212.71%21%21%4021038eda16947273657776461e14c3%2112000015896626648%21sea%21NL%210%21AS&curPageLogUid=b00TKkob6eAL
30 | Nut | M3 | 11 | 1.16 | 0 | 1.16 |  |  | https://nl.aliexpress.com/item/32801603379.html?spm=a2g0o.productlist.main.7.318c5b32FxGWyW&algo_pvid=49a7c5f5-db01-4161-a6e3-d5bc8f2d427f&algo_exp_id=49a7c5f5-db01-4161-a6e3-d5bc8f2d427f-3&pdp_npi=4%40dis%21EUR%212.58%212.33%21%21%212.71%21%21%4021038eda16947273657776461e14c3%2112000015896626648%21sea%21NL%210%21AS&curPageLogUid=b00TKkob6eAL
31 | Nut | M4 | 13 | 2.33 | 0 | 2.33 |  |  | https://nl.aliexpress.com/item/32801603379.html?spm=a2g0o.productlist.main.7.318c5b32FxGWyW&algo_pvid=49a7c5f5-db01-4161-a6e3-d5bc8f2d427f&algo_exp_id=49a7c5f5-db01-4161-a6e3-d5bc8f2d427f-3&pdp_npi=4%40dis%21EUR%212.58%212.33%21%21%212.71%21%21%4021038eda16947273657776461e14c3%2112000015896626648%21sea%21NL%210%21AS&curPageLogUid=b00TKkob6eAL
32 | Ring | M3 | 9 | 0.47 | 0 | 4.23 |  |  | https://nl.aliexpress.com/item/1005003352791998.html?spm=a2g0o.productlist.main.11.720b1476JZjMVn&algo_pvid=a07a7e7d-cea3-4dfc-982f-57bffc4d86cd&algo_exp_id=a07a7e7d-cea3-4dfc-982f-57bffc4d86cd-5&pdp_npi=4%40dis%21EUR%211.89%210.47%21%21%211.98%21%21%4021038eda16947274846798291e14c3%2112000025362131584%21sea%21NL%210%21AS&curPageLogUid=0l3BEowbRJAW
33 | Sliding nut | M3 | 2 | 0.48 | 0 | 0.96 |  |  | https://nl.aliexpress.com/item/32814359094.html?spm=a2g0o.productlist.main.1.71a75b4bs55PPO&algo_pvid=3670bd18-bf23-4e76-b2d3-dc5f92dc157a&algo_exp_id=3670bd18-bf23-4e76-b2d3-dc5f92dc157a-0&pdp_npi=4%40dis%21EUR%213.18%210.47%21%21%213.34%21%21%4021038eda16947275404078740e14c3%2166498695474%21sea%21NL%210%21AS&curPageLogUid=C1P3e9JiY4ac
34 | Sliding nut | M4 | 102 | 1.91 | 0 | 1.91 |  |  | https://nl.aliexpress.com/item/32814359094.html?spm=a2g0o.productlist.main.1.71a75b4bs55PPO&algo_pvid=3670bd18-bf23-4e76-b2d3-dc5f92dc157a&algo_exp_id=3670bd18-bf23-4e76-b2d3-dc5f92dc157a-0&pdp_npi=4%40dis%21EUR%213.18%210.47%21%21%213.34%21%21%4021038eda16947275404078740e14c3%2166498695474%21sea%21NL%210%21AS&curPageLogUid=C1P3e9JiY4ac
35 | Spacers | M2*5 mm | 2 | 0.23 | 0 | 0.46 |  |  | https://nl.aliexpress.com/item/32862529967.html?spm=a2g0o.productlist.main.1.8cea41a0LRbWb3&algo_pvid=894c3a99-79f5-4bdf-a29a-43573f16a81b&algo_exp_id=894c3a99-79f5-4bdf-a29a-43573f16a81b-0&pdp_npi=4%40dis%21EUR%214.19%210.46%21%21%214.42%21%21%40211b617a16939510482205215e6a33%2110000000197494051%21sea%21NL%210%21A&curPageLogUid=GCXrXbsGFC2N
36 | Spacers | M2*10 mm | 4
37 | Spacers | M2*15 mm | 4
38 | Melt insert | M2 | 12 | 1.12 | 1.81 | 2.93 |  |  | https://nl.aliexpress.com/item/1005003452619683.html?spm=a2g0o.order_list.order_list_main.4.53e379d2cTGRcJ&gatewayAdapt=glo2nld
39 | Melt insert | M3 | 14 | 1.12 | 1.81 | 2.93 |  |  | https://nl.aliexpress.com/item/1005003452619683.html?spm=a2g0o.order_list.order_list_main.4.53e379d2cTGRcJ&gatewayAdapt=glo2nld
Optics
40 | Condenser lenses |  | 2 | 23.17 | 10.98 | 57.32 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=ACL2520U-DG15
41 | Thorlabs C mount |  | 1 | 31.91 | 10.98 | 42.89 |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=CML50
42 | 50 mm spacer |  | 1 | 21.25 | 8.89 | 30.14 |  |  | https://nl.aliexpress.com/item/32817786051.html?spm=a2g0o.order_list.order_list_main.424.3cbe79d2ZJ7jjH&gatewayAdapt=glo2nld
43 | Objective | 4X | 1 | 12.61 | 0.79 | 13.4 |  |  | https://nl.aliexpress.com/item/1005005745368395.html?spm=a2g0o.productlist.main.7.37df7d05hUo2kP&algo_pvid=9ba746bd-af66-4623-a81c-2cea46c86979&algo_exp_id=9ba746bd-af66-4623-a81c-2cea46c86979-3&pdp_npi=4%40dis%21EUR%2119.69%2112.61%21%21%2120.73%21%21%40211b88ee16938683627901977e4ee1%2112000034194058893%21sea%21NL%210%21A&curPageLogUid=8n2etXci26ZF
Housing
44 | Backplate |  | 1 |  |  | 0
45 | Bottomplate |  | 1 |  |  | 0
46 | Light tower plate |  | 1 |  |  | 0
47 | Top plate |  | 1 |  |  | 0
48 | Front and side plate |  | 1 |  |  | 0
49 | Electronics plate |  | 1 |  |  | 0
50 | Window |  | 1 |  |  | 0
3D printed parts |  | Printing time | Weight (kg)
51 | Clamp | 3 h, 06 min | 0.033 | 25.61 | 0 | 0.84513
52 | Clamp mount | 0 h, 56 min | 0.01 |  | 0 | 0.2561
53 | Light tower ¦ Bottom | 0 h, 55 min | 0.008 |  | 0 | 0.20488
54 | Light tower ¦ Spacer 1 | 0 h, 57 min | 0.009 |  | 0 | 0.23049
55 | Light tower ¦ Spacer 2 | 1 h, 17 min | 0.012 |  | 0 | 0.30732
56 | Light tower ¦ Top | 0 h, 26 min | 0.004 |  | 0 | 0.10244
57 | Sample stage | 2h, 19 min | 0.025 |  | 0 | 0.64025
58 | Sample stage holder | 5h, 57 min | 0.066 |  | 0 | 1.6903
59 | XY-motor mount | 1h, 32 min | 0.017 |  | 0 | 0.43537
60 | Z-motor mount | 2h, 16 min | 0.024 |  | 0 | 0.61464
61 | X-endstop mount ¦ left | 0h, 20 min | 0.003 |  | 0 | 0.07683
62 | X-endstop mount ¦ right | 0h, 20 min | 0.003 |  | 0 | 0.07683
63 | Y-endstop mount ¦ front | 1h, 30 min | 0.014 |  | 0 | 0.35854
64 | Y-endstop mount ¦ back | 1h, 23 min | 0.013 |  | 0 | 0.33293
65 | Z-endstop mount ¦ top | 0h, 54 min | 0.008 |  | 0 | 0.20488
66 | Z-endstop mount ¦ bottom | 0h, 54 min | 0.008 |  | 0 | 0.20488
Electronics
67 | LED | 1 W ¦ Neutral white | 1 | 0.48 | 0 | 0.48 |  |  | https://nl.aliexpress.com/item/32843112997.html?spm=a2g0o.productlist.main.3.5bae30f4uv6qmm&algo_pvid=4606b815-0664-4889-9872-287727966721&algo_exp_id=4606b815-0664-4889-9872-287727966721-1&pdp_npi=4%40dis%21EUR%211.11%210.48%21%21%211.17%21%21%40211b88ee16938684230222506e4ee1%2112000020788789290%21sea%21NL%210%21A&curPageLogUid=0nt5CjDd9UbP
68 | LED heat sink |  | 1 | 1.11 | 1.21 | 2.32 |  |  | https://nl.aliexpress.com/item/32946892914.html?spm=a2g0o.productlist.main.17.3b29dedd9LJrVg&algo_pvid=90072425-e634-436b-980e-15a2cabb4977&algo_exp_id=90072425-e634-436b-980e-15a2cabb4977-8&pdp_npi=4%40dis%21EUR%211.65%211.11%21%21%211.74%21%21%40211b88ee16938685274753614e4ee1%2166231330395%21sea%21NL%210%21A&curPageLogUid=omekcjr4qOcD
69 | Raspberry Pi HQ camera |  | 1 | 73.76 | 0 | 73.76 |  |  | https://nl.farnell.com/webapp/wcs/stores/servlet/AjaxOrderItemDisplayView?catalogId=15001&storeId=10168&langId=31&krypto=1AaN3Fc%2FAhIDjZK0aHhAXfAbzBE3qYfibJ1o9HOy%2BMn4tqEfTGiNbnEG4gbrvMUznPGuxycQuTqdZSr9gFm9YvDxznP4D7WW7tD2Aslp%2BV87YiYQaJn9uaQhQMJK4MryaxIpwX1Mxk6epYt0gGzPgMclI24hfyT90Cb%2FRy7Kh%2FiqdY0mKM2HtqNxbVpXr6PB&ddkey=https%3AOrderCalculate
70 | Raspberry Pi Pico |  | 1 | 1.23 | 1.23 | 2.46 |  |  | https://nl.aliexpress.com/item/1005005793264636.html?pdp_npi=2%40dis%21EUR%21%E2%82%AC2%2C46%21%E2%82%AC1%2C23%21%21%21%21%21%40211b5e2b16938688945022418e9ea7%2112000034373780385%21btf&_t=pvid%3A7ec7a95a-5d26-46b4-8dae-ac2173346fff&spm=a2g0o.ppclist.product.mainProduct&gatewayAdapt=glo2nld
71 | Male header pins | 1x20 | 2 | 0.23 | 0 | 0.46 |  |  | https://nl.aliexpress.com/item/1005003541838313.html?spm=a2g0o.productlist.main.5.38657920UHiFfj&algo_pvid=b91a0dc9-cde7-4e87-be01-32611e120474&algo_exp_id=b91a0dc9-cde7-4e87-be01-32611e120474-2&pdp_npi=4%40dis%21EUR%211.19%210.47%21%21%211.25%21%21%40211b5e1f16938689381143392ef835%2112000026227195343%21sea%21NL%210%21A&curPageLogUid=Wy3E9NlF7Oyk
72 | Female header pins | 1x20 | 2 | 0.71 | 0.64 | 2.06 |  |  | https://nl.aliexpress.com/item/4001198421663.html?spm=a2g0o.productlist.main.13.5d9c11f8RKH5Dq&algo_pvid=0a1ae0be-8849-4267-be57-d02ba814f51b&algo_exp_id=0a1ae0be-8849-4267-be57-d02ba814f51b-6&pdp_npi=4%40dis%21EUR%211.43%211.22%21%21%211.51%21%21%40211b5e1f16938690094344191ef835%2110000015275671653%21sea%21NL%210%21A&curPageLogUid=zlZkDgDlPU4f
73 | Female header pins | 1x8 | 6 | 0.85 | 0.64 | 5.74 |  |  | https://nl.aliexpress.com/item/4001198421663.html?spm=a2g0o.productlist.main.13.5d9c11f8RKH5Dq&algo_pvid=0a1ae0be-8849-4267-be57-d02ba814f51b&algo_exp_id=0a1ae0be-8849-4267-be57-d02ba814f51b-6&pdp_npi=4%40dis%21EUR%211.43%211.22%21%21%211.51%21%21%40211b5e1f16938690094344191ef835%2110000015275671653%21sea%21NL%210%21A&curPageLogUid=zlZkDgDlPU4f
74 | Custom PCB |  | 1 |  |  | 0
75 | Capacitor | 100 uF | 3 | 1.28 | 1.12 | 4.96 |  |  | https://nl.aliexpress.com/item/33049456328.html?spm=a2g0o.productlist.main.11.424c7bc0WmZY7r&algo_pvid=50022565-d7b9-4c7f-b951-e04761278538&algo_exp_id=50022565-d7b9-4c7f-b951-e04761278538-5&pdp_npi=4%40dis%21EUR%210.63%210.54%21%21%214.85%21%21%40211b5e1f16938691137125431ef835%2167436126751%21sea%21NL%210%21A&curPageLogUid=6ku2GSQKeznm
76 | MOSFET module | 15A, 400W | 1 | 0.43 | 0.91 | 1.34 |  |  | https://nl.aliexpress.com/item/32803005422.html?spm=a2g0o.productlist.main.1.3e397860t4cqJR&algo_pvid=0d3bf6ce-72ba-4bb5-8b94-153125c620c6&algo_exp_id=0d3bf6ce-72ba-4bb5-8b94-153125c620c6-0&pdp_npi=4%40dis%21EUR%210.48%210.43%21%21%210.51%21%21%40211b5e1f16938692423487198ef835%2164323132051%21sea%21NL%210%21A&curPageLogUid=NExKTzmhwzbe
77 | Power supply | RPD-60A | 1 | 22.63 | 0 | 22.63 |  |  | https://nl.farnell.com/mean-well/rpd-60a/power-supply-medical-ac-dc-2-o/dp/2815574?gclid=EAIaIQobChMI6YjvqYuSgQMVSq53Ch0gQQQ6EAAYAiAAEgJECPD_BwE&mckv=s_dc¦pcrid¦530720719616¦kword¦rpd%2060a¦match¦p¦plid¦¦slid¦¦product¦¦pgrid¦126927693809¦ptaid¦kwd-382918195196¦&CMP=KNC-GNL-GEN-SKU-MDC-PS_Software_TT_OE_LED-Test-985
78 | Raspberry Pi 3/4 |  | 1 | 32.18 | 0 | 32.18 |  |  | https://nl.farnell.com/raspberry-pi/raspberrypi-modb-1gb/raspberry-pi-3-model-b/dp/2525225?src=raspberrypi
79 | SD card | Silicon Power NAND | 1 | 5.49 | 0 | 5.49 |  |  | https://www.amazon.nl/Silicon-Power-FBE-SU032GBSTHBU1V1GEU-geheugenkaart-32/dp/B07RMXNLF4/ref=sr_1_5?crid=3PLZIA4J3DZNX&keywords=silicon%2Bpower%2B3d%2Bnand&qid=1694724865&sprefix=silicon%2Bpower%2B%2Caps%2C126&sr=8-5&th=1
80 | Ventilator kit | for Raspberry Pi 3/4 | 1 | 4.54 | 5.66 | 10.2 |  |  | https://nl.aliexpress.com/item/1005005584107979.html?spm=a2g0o.productlist.main.43.4bb729e2hnT2rD&algo_pvid=4ef9b156-4916-4a35-bfe7-5277a10c1f49&algo_exp_id=4ef9b156-4916-4a35-bfe7-5277a10c1f49-21&pdp_npi=4%40dis%21EUR%214.17%213.75%21%21%2131.93%21%21%40211b88f016938695408355702e6877%2112000033644457997%21sea%21NL%210%21A&curPageLogUid=OmJkXpY4bIcm
81 | TPU | Google Coral | 2 | 56.6 | 0 | 113.2 |  |  | https://nl.farnell.com/pi3g/g950-01456-01/usb-accelerator-raspberry-pi/dp/3583033?st=coral
82 | Rocker switch | 33x25 mm | 1 | 1.12 | 0.58 | 1.7 |  |  | https://nl.aliexpress.com/item/1005001694446039.html?spm=a2g0o.productlist.main.43.667641abRmolE5&algo_pvid=b540751c-e72a-4ac2-97e6-2e523baead3a&algo_exp_id=b540751c-e72a-4ac2-97e6-2e523baead3a-21&pdp_npi=4%40dis%21EUR%211.73%211.12%21%21%211.82%21%21%40211b88f016938696934687339e6877%2112000018105924879%21sea%21NL%210%21A&curPageLogUid=d1r71NCegAr7
83 | Power socket | 3 pin | 1 | 0.69 | 2.69 | 3.38 |  |  | https://nl.aliexpress.com/item/4000380736505.html?spm=a2g0o.order_list.order_list_main.436.3ba579d2aSoXNa&gatewayAdapt=glo2nld
84 | End switch |  | 6 | 2.21 | 0 | 2.21 |  |  | https://nl.aliexpress.com/item/32939882024.html?spm=a2g0o.order_list.order_list_main.57.3cbe79d2jAamDa&gatewayAdapt=glo2nld
Wires and connectors
85 | Wire | 22 AWG ¦ 550 mm | 2 | 0.47 | 0 | 0.94 |  |  | https://nl.aliexpress.com/item/1005004750475982.html?spm=a2g0o.productlist.main.15.33c626d9QHVmUn&algo_pvid=e456ecd9-aba0-493f-9c6c-09f29dba53b9&algo_exp_id=e456ecd9-aba0-493f-9c6c-09f29dba53b9-7&pdp_npi=4%40dis%21EUR%214.10%210.47%21%21%214.32%21%21%40211b88ee16938711022977528e4ee0%2112000030335587229%21sea%21NL%210%21A&curPageLogUid=rVN2Luqel4s8
86 | Wire | 22 AWG ¦ 400 mm | 1
87 | Wire | 22 AWG ¦ 300 mm | 4
88 | Wire | 22 AWG ¦ 250 mm | 1
89 | Wire | 22 AWG ¦ 200 mm | 4
90 | Wire | 22 AWG ¦ 120 mm | 2
91 | Wire | 22 AWG ¦ 100 mm | 1
92 | Wire | 10 AWG ¦ 500 mm | 2 | 3.28 | 0 | 6.56 |  |  | https://nl.aliexpress.com/item/1005004750475982.html?spm=a2g0o.productlist.main.15.33c626d9QHVmUn&algo_pvid=e456ecd9-aba0-493f-9c6c-09f29dba53b9&algo_exp_id=e456ecd9-aba0-493f-9c6c-09f29dba53b9-7&pdp_npi=4%40dis%21EUR%214.10%210.47%21%21%214.32%21%21%40211b88ee16938711022977528e4ee0%2112000030335587229%21sea%21NL%210%21A&curPageLogUid=rVN2Luqel4s8
93 | Wire | 10 AWG ¦ 350 mm | 1
94 | Wire | 10 AWG ¦ 150 mm | 2
95 | JST connector | XH ¦ female | 20 | 0.91 | 0.45 | 1.36 |  |  | https://nl.aliexpress.com/item/1005004300032921.html?spm=a2g0o.productlist.main.7.2de4185fYU0pdt&algo_pvid=c988d294-ba9f-470b-b6c0-00092072a071&algo_exp_id=c988d294-ba9f-470b-b6c0-00092072a071-3&pdp_npi=4%40dis%21EUR%212.97%211.9%21%21%213.11%21%21%40211b5db216947249509028695e768d%2112000028678908419%21sea%21NL%210%21AS&curPageLogUid=qhjVsdfWx3AP
96 | JST plug | XH2P ¦ female | 3 | 0.61 | 0.45 | 2.28 |  |  | https://nl.aliexpress.com/item/1005004300032921.html?spm=a2g0o.productlist.main.7.2de4185fYU0pdt&algo_pvid=c988d294-ba9f-470b-b6c0-00092072a071&algo_exp_id=c988d294-ba9f-470b-b6c0-00092072a071-3&pdp_npi=4%40dis%21EUR%212.97%211.9%21%21%213.11%21%21%40211b5db216947249509028695e768d%2112000028678908419%21sea%21NL%210%21AS&curPageLogUid=qhjVsdfWx3AP
97 | JST plug | XH4P ¦ female | 4 | 0.83 | 0.45 | 3.77 |  |  | https://nl.aliexpress.com/item/1005004300032921.html?spm=a2g0o.productlist.main.7.2de4185fYU0pdt&algo_pvid=c988d294-ba9f-470b-b6c0-00092072a071&algo_exp_id=c988d294-ba9f-470b-b6c0-00092072a071-3&pdp_npi=4%40dis%21EUR%212.97%211.9%21%21%213.11%21%21%40211b5db216947249509028695e768d%2112000028678908419%21sea%21NL%210%21AS&curPageLogUid=qhjVsdfWx3AP
98 | DuPont connector | 2.54 mm ¦ female | 2 | 0.16 | 0.93 | 1.09 |  |  | https://nl.aliexpress.com/item/4000623351046.html?spm=a2g0o.productlist.main.3.14b938afQuzXMe&algo_pvid=d061c6a9-5bd8-45c6-9e95-09e4ebd2e191&algo_exp_id=d061c6a9-5bd8-45c6-9e95-09e4ebd2e191-1&pdp_npi=4%40dis%21EUR%210.17%210.16%21%21%210.18%21%21%40211b5db216947250910152788e768d%2110000004272407982%21sea%21NL%210%21AS&curPageLogUid=rDnyKCnsIR4J
99 | DuPont plug | 2.54 mm ¦ female | 2 | 0.11 | 0.93 | 1.15 |  |  | https://nl.aliexpress.com/item/4000623351046.html?spm=a2g0o.productlist.main.3.14b938afQuzXMe&algo_pvid=d061c6a9-5bd8-45c6-9e95-09e4ebd2e191&algo_exp_id=d061c6a9-5bd8-45c6-9e95-09e4ebd2e191-1&pdp_npi=4%40dis%21EUR%210.17%210.16%21%21%210.18%21%21%40211b5db216947250910152788e768d%2110000004272407982%21sea%21NL%210%21AS&curPageLogUid=rDnyKCnsIR4J
100 | RS connector set | for RPD-60A | 1 | 6.97 | 5.95 | 12.92 |  |  | https://nl.rs-online.com/web/p/power-supply-accessories/0381845
101 | Spade connector | 10 AWG ¦ 6.3 mm | 7 | 4.5 | 1.89 | 6.39 |  |  | https://nl.aliexpress.com/item/1005005743945245.html?spm=a2g0o.productlist.main.21.7c4c2ab9mkkTNr&algo_pvid=434e7b05-49e3-4261-9213-51e3aaf0dccd&algo_exp_id=434e7b05-49e3-4261-9213-51e3aaf0dccd-10&pdp_npi=4%40dis%21EUR%2128.17%214.5%21%21%21214.88%21%21%4021038ed816947261448066346eb23d%2112000034186336657%21sea%21NL%210%21AS&curPageLogUid=7monaRuBNkL3
102 | JST ring connector | JST FV ¦ M3 | 1
103 | USB cable | USB-C to wire ¦ 500 mm | 1 | 0.47 | 0 | 0.47 |  |  | https://nl.aliexpress.com/item/1005004982855996.html?spm=a2g0o.productlist.main.13.2a7e34b4tX6oYt&algo_pvid=d1a07258-b9e4-401e-9cff-f6ae64d56d05&algo_exp_id=d1a07258-b9e4-401e-9cff-f6ae64d56d05-6&pdp_npi=4%40dis%21EUR%211.53%210.47%21%21%211.60%21%21%4021038ed816947263048078897eb23d%2112000031234656880%21sea%21NL%210%21AS&curPageLogUid=YRx9y1l6OZRt
104 | USB cable | USB to USB-C ¦ 200 mm | 2 | 1.3 | 1.89 | 4.49 |  |  | https://nl.aliexpress.com/item/1005005064433493.html?spm=a2g0o.productlist.main.31.7c5d10cb3W2RFm&algo_pvid=6ac84c5a-b774-4d6c-b90c-5ee999dba41d&algo_exp_id=6ac84c5a-b774-4d6c-b90c-5ee999dba41d-15&pdp_npi=4%40dis%21EUR%211.74%211.74%21%21%2113.29%21%21%4021038ed816947260417924487eb23d%2112000031500578555%21sea%21NL%210%21AS&curPageLogUid=AdH0sIMy3dcL
105 | USB cable | USB to microUSB ¦ 500 mm | 1 | 0.47 | 0 | 0.47 |  |  | https://nl.aliexpress.com/item/4001145014176.html?spm=a2g0o.productlist.main.51.48bc3682imaJRo&algo_pvid=9da034a3-9b3b-4a97-8654-954d0a78384b&algo_exp_id=9da034a3-9b3b-4a97-8654-954d0a78384b-25&pdp_npi=4%40dis%21EUR%213.10%210.47%21%21%213.25%21%21%4021038ed816947258441218053eb23d%2112000033824777412%21sea%21NL%210%21AS&curPageLogUid=DfgWmvj4LQgR
106 | USB cable | USB to microUSB ¦ 300 mm | 1 | 0.47 | 0 | 0.47 |  |  | https://nl.aliexpress.com/item/4001145014176.html?spm=a2g0o.productlist.main.51.48bc3682imaJRo&algo_pvid=9da034a3-9b3b-4a97-8654-954d0a78384b&algo_exp_id=9da034a3-9b3b-4a97-8654-954d0a78384b-25&pdp_npi=4%40dis%21EUR%213.10%210.47%21%21%213.25%21%21%4021038ed816947258441218053eb23d%2112000033824777412%21sea%21NL%210%21AS&curPageLogUid=DfgWmvj4LQgR
107 | USB cable | Panel mount | 2 | 1.72 | 2.15 | 5.59 |  |  | https://nl.aliexpress.com/item/1005003222744095.html?spm=a2g0o.order_list.order_list_main.291.3ba579d2aSoXNa&gatewayAdapt=glo2nld
108 | USB HUB | Waveshare USB HUB hat (B) | 1 | 17.52 | 1.21 | 18.73 |  |  | https://nl.aliexpress.com/item/1005005965585637.html?spm=a2g0o.productlist.main.53.4b207a62NKxsDc&algo_pvid=b5e90072-b061-451b-bf00-8d63202c7746&algo_exp_id=b5e90072-b061-451b-bf00-8d63202c7746-26&pdp_npi=4%40dis%21EUR%2122.47%2117.52%21%21%2123.57%21%21%4021038ed816947257700746569eb23d%2112000035083731835%21sea%21NL%210%21AS&curPageLogUid=ohB0Wn7xGfP7
109 | HDMI cable | Panel mount | 1 | 7.05 | 6.42 | 13.47 |  |  | https://nl.aliexpress.com/item/1005001885228261.html?spm=a2g0o.productlist.main.47.701b28518Hd0x2&algo_pvid=6054dd0a-4f5b-431b-a405-006674b7fd45&algo_exp_id=6054dd0a-4f5b-431b-a405-006674b7fd45-23&pdp_npi=4%40dis%21EUR%217.05%217.05%21%21%217.39%21%21%4021038ed816947256865665870eb23d%2112000018011524060%21sea%21NL%210%21AS&curPageLogUid=1yktOsx3VfsU
110 | Power cable |  | 1 | 0.75 | 5.07 | 5.82 |  |  | https://nl.aliexpress.com/item/32983801295.html?spm=a2g0o.order_list.order_list_main.421.3ba579d2aSoXNa&gatewayAdapt=glo2nld
Required tools
Soldering iron
Cable stripping tool
| HEX keys | M2, M3, M4
Phillips screwdriver
Multimeter
Metal saw
Crimping tool